## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Automated Rapid ImmunoFluorescent Analyser | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the Immunofluroscent rapid analyser and optional items should be mention clearly.Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Automated FIA system should include testing | 1
2.1 | H.Pylori Antigen,Rota Virus Antigen, Adeno Virus Antigen, C.Difficle GDH & ToxinA/B
2.2 | Min throughput of 50 samples/hr
2.3 | Minimal reagents requirement ,with no or simple manual reagent preparation steps
2.4 | Easy maintenance and trouble shooting
2.5 | Calibration frequency should not be less than 1 month
2.6 | Quantitative & Qualitative Tests
2.7 | Simple to use card/cartridge
2.8 | Test pack size should not exceed 50 tests/Pack with >1 yr shelf life
2.9 | Quality control reagent supply should be smooth and Lot to Lot variations to be minimal,
2.1 | Capablity of running multiple assay at a same time
2.11 | Barcode scanner
2.12 | Builtin Printer/External Printer
3 | Unit msut have LIS integration option
4 | Unit must be antimicrobial protection
5 | Specify dimension & weight of the unit
6 | Unit should be provided with all necessary accessories and consumables
7 | Unit must have universal power adapter 220-240v, 50/50HZ
8 | Quality requirements
8.1 | FDA/CE mark approval
8.2 | Positive & Negative control for all available assay
8.3 | Number of customers used in CAP accredited labs in UAE / ME Region
8.4 | CAP or other external quality control program enrollment
8.5 | Availablity for demo
9 | Sample Consumption
Average number of tests - 100 test/Month
10 | Accessories
Supplied with all standard accessories.
11 | Consumables
Supplied with all standard consumables.
12 | Available Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warrenty .