## Technical Specification
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
1 | Automated Storage and Dispensing System (Robotic OP Pharmacy) with two robotic arms (Grabbers) | 1 | Comply | Supporting Documents Ref. | by Hospital
2 | Automated Narcotic cabinet | 1
3 | Automated Tablet(Pill) counting machine | 1
| Specifications |  | Yes/No
The Automated Pharmacy Robotic Dispensing System should be designed to optimize pre- package prescription medication workflow, give protection and security against unauthorized access, provide order review and incorporate safety measures to minimize errors in medication dispensing and management processes.
Automated Storage and Dispensing System Specification
1 | Technical offer must be clear in terms of standards , which will be offered with the Robotic OP Pharmacy Otionals items should be mention clearly.Please specify the details clearly and all the requested specs information must be well supported with the reference documents.
2 | Type:Floor Mounted
3 | Available area Approximate Size (W x D/L x H meters):Up To 3.80 x 1.60 x 2.70
4 | Specify Power Requirements:
5 | Features that shall be provided, but not limited to, the following characteristics:
5.1 | Solution of 1 robots shall provide a Storage Capacity: around 35,000 packages. |  |  |  | Yes
5.2 | Output speed shall provide a minimum of 2000 packages per hour. |  |  |  | Yes
5.3 | Shall be equipped with Semi-Automated Loading Module for the robot. | 1 |  |  | Yes
5.4 | Shall be equipped with Automated Loading Module for the robot. | 1
5.5 | Shall be capable to operate at least 15000 packs per day. |  |  |  | Yes
5.6 | Shall be able to manage a packaging weight; minimum of 1.0 Kg. |  |  |  | Yes
6 | The systems robotic function shall be automated to perform, but not limited to, the following functions:
6.1 | Integrated multi-dispense function |  |  |  | Yes
6.2 | Loading and Stocking of medication boxes, |  |  |  | Yes
6.3 | Picking of medication boxes. |  |  |  | Yes
6.4 | Dispensing and deliver of medication boxes to the assigned point up to 10 dispensing windows. |  |  |  | Yes
6.5 | The conveyor belt built for counters 7 to 10 . For counters 1 to 6, direct output is preferable.
6.6 | Loading and Dispensing of packages at the same time. |  |  |  | Yes
7 | The Robotic System shall be equipped with the independent exclusive placing system, that ensure the auto/semi-auto loading is accurate, safe, and fast without impacting the dispensing function or speed.
8 | System shall automatically perform, but not limited to, the following functions and items: |  |  |  | Yes
8.1 | Scan. |  |  |  | Yes
8.2 | Loading. |  |  |  | Yes
8.3 | Dispensing. |  |  |  | Yes
9 | Shall be equipped to provide, but not limited to, the following functions: |  |  |  | Yes
9.1 | Check the available stock and provide replenishment reports. |  |  |  | Yes
9.2 | Reconciliation report. |  |  |  | Yes
9.3 | Multi picking function. |  |  |  | Yes
10 | Preferred to control of all work processes by remote camera. |  |  |  | Yes
11 | Shall be equipped with an Uninterruptable Power Supply (UPS). |  |  |  | Yes
12 | Shall provide one of the following security access mechanisms: |  |  |  | Yes
12.1 | Bio-metric |  |  |  | Yes
12.2 | User name and Password |  |  |  | Yes
12.3 | Shall meet all requirements of international accreditation standards |  |  |  | Yes
13 | Shall be able to manage pre-package prescription medication like prepacked medication bottles. |  |  |  | Yes
14 | Shall provide order and replenishment review |  |  |  | Yes
15 | Shall include an integrated computer operating system with the required hardware to operate the unit. |  |  |  | Yes
16 | Shall support the Integration with Hospital Information System (TrakCare Intersystems) using HL7 Protocol or any other protocol that will be agreed on that Includes and not limited
16.1 | Patient Demographic information using HL7: Patient demographic information like name, ID, age, gender, etc |  |  |  | Yes
16.2 | Medications Order and Dispense using HL7: When a physician prescribes a medication within the HIS, that information should flow to the ASDS to fulfill the order and Dispense details should flow to ASDS. |  |  |  | Yes
16.3 | Inventory Management using HL7: is used to update inventory information in HIS. This can be used to relay changes in inventory, such as when new supplies are added or when existing supplies are used. Solution should have an option to maintain stock position of the item at batch and location level. The item stock will be received, dispensed, adjust, comsume and maintain at the batch level for each storage location. |  |  |  | Yes
17 | Shall include Inventory Software. Software shall provide, but not limited to, the following functions:
17.1 | Network Interface between the following:
17.1.1 | The Hospital Information System (H.I.S.) |  |  |  | Yes
17.1.2 | Main Pharmacy Inventory including the stock outside the robot |  |  |  | Yes
17.2 | Shall provide Prescription Reports |  |  |  | Yes
17.3 | Shall provide report checklist of those dispensed |  |  |  | Yes
17.4 | Online inventory control and reports |  |  |  | Yes
17.5 | Record of all access and stock movements for both: |  |  |  | Yes
17.5.1 | “In” and “out” of storage |  |  |  | Yes
17.5.2 | Dispensed. |  |  |  | Yes
17.5.3 | Recalled |  |  |  | Yes
17.6 | Inventory software shall record automatically the following items:
17.6.1 | Expiration data |  |  |  | Yes
17.6.2 | Batch numbers |  |  |  | Yes
17.6.3 | Barcode |  |  |  | Yes
17.6.4 | Loading and unloading personnel |  |  |  | Yes
18 | Software shall be in English with optional languages. |  |  |  | Yes
19 | Shall provide a high-resolution touch screen display, minimum 15” screen. |  |  |  | Yes
20 | Shall include a Wireless Keypad, a Wireless mouse and an adjustable Keypad Tray. |  |  |  | Yes
21 | Shall include a Wi-Fi wireless adapter. |  |  |  | Yes
22 | If color options are available; provide the selections. The final selection will be chosen during shop drawing review |  |  |  | Yes
23 | system must be scalable to expand(custom configured cabinets) and Flexible with end-user needs |  |  |  | Yes
24 | unit should be HL7 Interfacing , integareted with HIS to select and maintain optimal Inventory |  |  |  | Yes
25 | Full tracking of inventory management |  |  |  | Yes
26 | Unit must be antimicrobial Protection |  |  |  | Yes
28 | Full tracking of inventory management |  |  |  | Yes
29 | Specify the dispending time for single box per ___sec |  |  |  | Yes
30 | Solution should not be a single point of failure. Solution should have native high availability in terms of Applications and Databases. Solution should have a seamless failover to the secondary server/service in case any failure in the primary service. Solution should support active-active load balancing in terms of applications. |  |  |  | Yes
31 | Proposal must include the detailed Server (Hardware and Software) specification |  |  |  | Yes
32 | General specification
32.1 | Specify specification of lastest microsoft Windows operating system is supported for 10 years with Automated storage & Dispensing System |  |  |  | Yes
32.2 | Specify Dimensions and weight of the units |  |  |  | Yes
32.3 | All units must be provided with all necessary accessories and consumables. |  |  |  | Yes
32.4 | Power consumption & Heat dissipation in BTU/h |  |  |  | Yes
32.5 | Specify Power and data sockets requirements |  |  |  | Yes
32.6 | Must have universal power adapter 220-240v ,50/60HZ |  |  |  | Yes
33 | Quality and Patient safety
1 | All units must be FDA / CE marked . |  |  |  | Yes
2 | All units must comply ISO 13485 Quality management system for medical device or equivalent . |  |  |  | Yes
3 | System must comply with ISO ; IEC Medical equipment Electrical Safety IEC 60601-1 |  |  |  | Yes
34 | Accessories
Supplied with all standard accessories.
35 | Consumables
35.1 | Supplied with all standard consumables.
36 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for nursing staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D | A Price List For Spare Parts: Must be provided to cover at least 10 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warranty .