## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Fully Automated Tissue Processor for Histopathology Biopsy |  | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No(If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the fully automated tissue processor system .Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | High-Quality Processing: Conventional processing of human tissue for routine clinical histolopathology studies
2.1 | Processing Capacity: Upto 300 casettes
2.2 | Automated Workflow: Fully automated to reduce manual intervention and errors.
2.3 | User Interface: Intuitive controls for easy operation.
2.4 | Energy Efficient: Low energy consumption, with digital display
2.5 | Low user maintenance
2.6 | Should have Multiple processing programm option
2.7 | Instrument status communication using mobile app
3 | Automated reagent handling
3.1 | Reagent Bottles: Disposable reagent bottles required for single-use to ensure hygiene and prevent contamination.
3.2 | Capability to monitor reagent levels during operation for safe processing
3.3 | Should monitors reagent quality and indicate reagent changing condition
3.4 | Chemical Compatibility: Works with a variety of reagents. (open system)
3.5 | Cross-Contamination Prevention: Design must include features to effectively avoid cross-contamination between samples and reagents.
4 | Quality requirements
4.1 | FDA/CE mark approval
4.2 | Should have safety fume control system
4.3 | Number of customers used in CAP accredited labs in UAE / ME Region
4.4 | Availablity for demo unit
5 | Sample Consumption
Tissue processor
6 | Accessories
Supplied with all standard accessories.
7 | Consumables
Supplied with all standard consumables.
9 | Available Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warrenty .